POLAR GRID — FINAL SIH DEMO PREPARATION REPORT

Project: Polar Grid (AI-Assisted Renewable Energy Forecasting & Microgrid Dispatch Optimization)

Target Station: Mawson Station, Mac. Robertson Land, Antarctica (67.6027° S, 62.8738° E)

Audit Purpose: Final SIH Prototype Demonstration Hardening & Validation

Date: 2026-09-09

_________________________________________________________________________________

1. CHANGES MADE

1. Default Presentation State Configured:

⁃ Default Station: Mawson Station, Antarctica

⁃ Default Scenario: ☀️ POLAR SUMMER (24-Hour Continuous Sun)

⁃ Default Planning Horizon: 48 HOURS

⁃ Immediately reveals the primary value proposition (78.6% diesel reduction, battery buffering, zero unmet demand).

2. Added "How Polar Grid Works" Visual Decision Flow:

⁃ Implemented an 8-step visual pipeline strip on the main dashboard explaining the journey from raw data to clean dispatch:

⁃ 1. Input (ERA5 temperature, wind, and solar data)

⁃ 2. Forecast (Predict upcoming energy conditions)

⁃ 3. Generation (Turbines and solar panels produce clean electricity)

⁃ 4. Demand (Power needed to keep Mawson Station warm & running)

⁃ 5. Solver (Linear Programming selects cheapest clean energy mix)

⁃ 6. Storage (Store extra renewable energy safely within 20%–95% SOC)

⁃ 7. Backup (Diesel dispatched only when renewable power is insufficient)

⁃ 8. Outcome (Less diesel, 100% reliability guaranteed)

3. Added Station Reliability Guarantee Indicator:

⁃ Positioned prominently below the controls:

⁃ Station Supply: 100% SERVED (Zero blackouts)

⁃ Unmet Load: 0.00 kWh

⁃ Battery Safe Range: 20%–95% SOC

⁃ Clearly reassures judges: "Reducing diesel consumption never compromises Mawson Station electrical safety or life-support heating."

4. Streamlined Language Across the Main Dashboard:

⁃ Replaced technical jargon with simple, intuitive terms:

⁃ "Weather Forecast"

⁃ "Station Demand"

⁃ "Renewable Power"

⁃ "Battery Storage"

⁃ "Diesel Backup"

⁃ "Recommended Action"

⁃ "Diesel Saved"

⁃ Confined mathematical formulation and algorithm details (HistGradientBoostingRegressor, SciPy HiGHS, MAE, RMSE, R²) strictly inside the collapsible Technical Details section.

5. Hardened Recommended Action Card ("WHY?" Explanation):

⁃ Formatted in plain language:

⁃ "USE RENEWABLES + CHARGE BATTERY"

⁃ "USE RENEWABLES + DISCHARGE BATTERY"

⁃ "WIND + BATTERY + DIESEL BACKUP"

⁃ "100% RENEWABLE SUPPLY"

⁃ Added explicit, schedule-derived rationale:

⁃ WHY?: "Renewable generation is currently sufficient to meet station demand, with surplus clean energy charging the battery storage so diesel generators remain completely off."

6. Hardened Savings Labels & Embedded Validated Annual Simulation:

⁃ Summer 48-Hour Card: Clearly labeled "48-HOUR SUMMER SIMULATION" highlighting 78.6% DIESEL REDUCTION and 1,953 L DIESEL SAVED. Includes disclaimer: "Never call 78.6% the annual saving".

⁃ Polar Night 48-Hour Card: Clearly labeled "48-HOUR POLAR NIGHT SIMULATION" highlighting 25.8% DIESEL REDUCTION and 859 L DIESEL SAVED, with explanation: "During Polar Night, sunlight is unavailable (0 kW), so the system relies on wind, battery storage and diesel backup."

⁃ Embedded Annual Simulation Card:

⁃ Baseline Diesel: 520,699.8 L

⁃ Polar Grid Optimized: 304,864.8 L

⁃ Fuel Saved: 215,835.0 L

⁃ Annual Diesel Reduction: 41.45% (8,736-hour full physical audit)

⁃ Explicit jury distinction: 78.6% = Summer 48h simulation; 41.45% = Annual validated simulation across all 12 months.

7. Structured Technical Details into Clean Subsections (A through G):

⁃ A. Dataset: AADC historical records (360 monthly records 1986–2016, 278 fuel records 1993–2016) + ECMWF ERA5 hourly weather + calibrated demand synthesis.

⁃ B. Forecasting: Scikit-Learn HistGradientBoostingRegressor (150 trees), chronological 80/20 train/test split, zero random shuffling, causal lag features ($t-1, t-2, t-24$).

⁃ C. Renewable Models: 100 kW Solar PV with cold air thermal boost & 5 W/m² inverter activation threshold; 200 kW Wind with cut-in (3.5 m/s), rated (12 m/s), and cut-out (25 m/s).

⁃ D. Battery Storage: 300 kWh LiFePO4, 100 kW max rate, 94.87% one-way efficiency, 20.0%–95.0% SoC freeze-protection envelope.

⁃ E. Optimization Solver: SciPy HiGHS LP solver, hourly power balance, fuel minimization curve.

⁃ F. Validation & ML Metrics: Out-of-sample test table ($R^2 > 0.96$, 0 unmet load, 0.0000 kW imbalance).

⁃ G. Genuine Limitations: Honest disclosure of monthly calibration, rolling 1-step horizon, ERA5 reanalysis vs live sensor, and Antarctic summer vs polar night seasonal contrast.

_________________________________________________________________________________

2. TESTS EXECUTED

1. Automated Unit Tests: python -m unittest discover -s tests -p "test_*.py" -v

2. Master End-to-End Pipeline: python run_pipeline.py

3. Frontend Production Compilation: cd frontend && npm run build

4. Backend REST API Audit: Verified GET /, /api/status, /api/config, /api/metrics, /api/forecast, /api/schedule, POST /api/run-dispatch.

5. Scenario Physics & Edge Case Validation: Tested all 6 combinations (Summer 24/48/72h, Polar Night 24/48/72h) checking power balance, battery limits, diesel bounds, and non-negativity.

_________________________________________________________________________________

3. TEST RESULTS

• Unit Test Suite: 5 Passed, 0 Failed (Execution time: 0.203s).

• Master Pipeline: SUCCESS (Execution time: ~8.2s). All CSV schedules, charts, and summary JSON metrics updated.

• Frontend Production Build: SUCCESS (Vite v5 built in 21.37s). Production bundle generated at frontend/dist/ without errors.

_________________________________________________________________________________

4. API RESULTS

All endpoints validated via direct HTTP requests on live server (http://127.0.0.1:8000):

| Endpoint | Method | Status | Verification Detail |
| --- | --- | --- | --- |
| / | GET | 200 OK | Serves production single-page application |
| /api/status | GET | 200 OK | Returns Mawson Station metadata & operational status |
| /api/config | GET | 200 OK | Returns 300 kWh BESS, 200 kW Wind, 100 kW Solar, 375 kW Diesel |
| /api/metrics | GET | 200 OK | Returns baseline and optimized dispatch metrics |
| /api/forecast | GET | 200 OK | Returns horizon points and out-of-sample ML scores |
| /api/schedule | GET | 200 OK | Returns time-indexed schedule for requested season and horizon |
| /api/run-dispatch | POST | 200 OK | Re-executes SciPy HiGHS LP solver dynamically |

_________________________________________________________________________________

5. SCENARIO RESULTS (ALL 6 COMBINATIONS)

| Scenario | Horizon | Solar Gen | Wind Gen | Diesel Gen | Battery SoC | Baseline Fuel | Optimized Fuel | Diesel Reduction | Unmet Load | Max Power Imbalance |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Summer | 24h | 699.4 kWh | 4,289.9 kWh | 0.0 kWh | 48.2% – 95.0% | 1,228.6 L | 0.0 L | 100.00% | 0.00 kWh | 0.0000 kW |
| Summer | 48h | 1,509.5 kWh | 6,232.0 kWh | 970.3 kWh | 20.0% – 95.0% | 2,486.1 L | 532.9 L | 78.57% | 0.00 kWh | 0.0000 kW |
| Summer | 72h | 2,415.9 kWh | 7,476.4 kWh | 2,568.1 kWh | 20.0% – 95.0% | 3,758.2 L | 1,288.9 L | 65.71% | 0.00 kWh | 0.0000 kW |
| Polar Night | 24h | 0.00 kWh | 180.7 kWh | 4,683.2 kWh | 20.0% – 20.0% | 1,747.4 L | 1,683.6 L | 3.65% | 0.00 kWh | 0.0000 kW |
| Polar Night | 48h | 0.00 kWh | 3,096.8 kWh | 6,569.4 kWh | 20.0% – 52.3% | 3,336.1 L | 2,476.9 L | 25.75% | 0.00 kWh | 0.0000 kW |
| Polar Night | 72h | 0.00 kWh | 3,896.8 kWh | 9,842.1 kWh | 20.0% – 75.0% | 4,739.3 L | 3,607.9 L | 23.87% | 0.00 kWh | 0.0000 kW |

_________________________________________________________________________________

6. FINAL DEMO FLOW (STEP-BY-STEP SIH PRESENTATION GUIDE)

STEP 1: Open Dashboard (15 seconds)

• Open browser at http://127.0.0.1:8000/.

• Point out top header: POLAR GRID | MAWSON STATION, ANTARCTICA (67.6027° S, 62.8738° E).

• Note the data source badge: WEATHER DATA: ERA5 REANALYSIS.

STEP 2: State the Problem & "How It Works" (30 seconds)

• Explain: "Delivering diesel fuel to Antarctica requires icebreakers and costs upwards of $5–15 per litre, with heavy greenhouse gas emissions violating Antarctic Treaty environmental protocols."

• Point to the How Polar Grid Works strip:

⁃ Weather Data & AI Forecast $\rightarrow$ Predict Renewable Potential $\rightarrow$ SciPy LP Optimizer $\rightarrow$ Battery Buffer $\rightarrow$ Diesel Backup $\rightarrow$ Less Fuel, 100% Station Reliability.

• Point to the Station Reliability Guaranteed banner:

⁃ Station Supply: 100% Served | Unmet Load: 0 kWh | Battery Safe Range: 20%–95% SOC.

STEP 3: Austral Summer Demo (45 seconds)

• Observe default state: ☀️ POLAR SUMMER with 48 Hours horizon.

• Point to Recommended Action Card:

⁃ Action: "USE RENEWABLES + CHARGE BATTERY"

⁃ WHY?: "Renewable generation is currently sufficient to meet station demand, with surplus clean energy charging the battery storage so diesel generators remain completely off."

• Point to Energy Routing Flow:

⁃ Solar and wind energy feed directly to the station bus and battery storage; diesel generator is shut down (0 kW).

• Point to Diesel Savings Card:

⁃ 78.6% DIESEL REDUCTION | 1,953 L DIESEL SAVED (48-Hour Summer Simulation).

STEP 4: Switch to Polar Night (45 seconds)

• Click "❄️ POLAR NIGHT (Sun Below Horizon)".

• Show the visual transformation:

⁃ Solar generation drops to strictly 0.0 kW (inverter below cut-in threshold).

⁃ Wind turbines continue generating 3,097 kWh of clean energy.

⁃ Recommended Action changes to "WIND + BATTERY + DIESEL BACKUP".

⁃ Diesel generators turn on as minimal backup.

⁃ Fuel reduction adjusts to 25.8% DIESEL REDUCTION (859 L Saved).

• Explain: "Even during the dark Antarctic winter with zero sunlight, Polar Grid saves over 25% of diesel fuel."

STEP 5: Annual Validated Result (30 seconds)

• Scroll down to the VALIDATED ANNUAL SIMULATION (8,736 HOURS) card:

⁃ Baseline Diesel: 520,699.8 L

⁃ Polar Grid Diesel: 304,864.8 L

⁃ Fuel Saved: 215,835.0 L

⁃ Annual Diesel Reduction: 41.45%

• Reassure the jury: "We never claim 78.6% as an annual number. 78.6% is peak summer; across the full 12-month year, Polar Grid saves 41.45% of diesel fuel."

STEP 6: Technical Details & Scientific Honesty (30 seconds)

• Click "Click to expand" on Technical Details & Engineering Specifications.

• Highlight sections A through G:

⁃ Section B: Out-of-sample ML scores ($R^2 > 0.96$ on strictly past-to-future 80/20 chronological split).

⁃ Section D: Sub-zero battery preservation (20%–95% SOC bounds).

⁃ Section E: Exact power balance conservation (0.0000 kW error with SciPy HiGHS solver).

⁃ Section G: Strict scientific honesty regarding monthly AADC calibration and rolling forecasts.

_________________________________________________________________________________

7. KNOWN LIMITATIONS (SCIENTIFICALLY HONEST)

1. Monthly to Hourly Calibration: Official Mawson station records from AADC are aggregated monthly. Hourly demand is synthesized using physical thermodynamic heating degree-hours plus diurnal personnel schedules, calibrated to match real monthly consumption totals (~135,000 kWh/month).

2. Reanalysis vs. Live Sensor: Weather parameters are from ECMWF ERA5 reanalysis rather than a live internet telemetry stream from Mawson Station.

3. Rolling 1-Step Horizon: Machine learning predictions operate in rolling mode using the most recent state observations ($t-1$). Multi-day open-loop predictions without sensor updates would experience accumulated forecast drift.

4. Extreme Seasonal Asymmetry: Solar energy produces massive surges in late December (continuous 24h sunlight), but drops to 0 kW in July (polar night).

_________________________________________________________________________________

8. REMAINING ISSUES

NONE.

• Zero backend errors.

• Zero frontend compilation issues.

• Zero broken links.

• All 6 scenarios validated.

• All documentation files synchronized in Markdown (.md) and Microsoft Word (.docx).

_________________________________________________________________________________

FINAL VERDICT

POLAR GRID IS 100% READY FOR THE SMART INDIA HACKATHON PROTOTYPE ROUND.