# Module 09: Dashboard & System Workflow

## 1. What is this module?

This module explains the user interface and operational layout of the Polar Grid web dashboard. It bridges complex engineering mathematics into an intuitive, real-time command center designed for Antarctic station energy supervisors and SIH judges.

## 2. Why do we need it?

An optimization algorithm running in a Python terminal cannot help station engineers during an Antarctic storm. Energy supervisors need an immediate, high-contrast, clutter-free interface that answers: *"What is our weather? What is our renewable output? What is the battery doing? And should the diesel generator be ON or OFF right now?"*

## 3. What Polar Grid actually does

The dashboard is built using React and Vite, structured strictly around the "ONE SCREEN = ONE QUESTION" design principle:

| Page / Tab | Question Answered | Key Visual Content |
| --- | --- | --- |
| 1. Home (`#home`) | *"What is Polar Grid?"* | Problem definition, solution overview, core system components, direct action buttons ([Open Live Dashboard], [See AI Validation]). |
| 2. Live Dashboard (`#operations`) | *"What should the station do right now?"* | Real-time weather pill, current station demand, solar & wind generation gauges, battery SoC, diesel status, recommended dispatch banner, rolling 24h operational schedule. |
| 3. AI Validation (`#validation`) | *"How close is the AI prediction to real data?"* | Historical date selector (72 days), 24-hour Demand Comparison graph (AI Cyan vs Actual Amber), accuracy cards, hourly difference table. |
| 4. How It Works (`#how-it-works`) | *"How does Polar Grid work?"* | 6-step visual architecture from historical data and live ECMWF weather to HiGHS linear programming dispatch. |
| 5. Scenarios (`#results`) | *"How does it behave in extreme polar seasons?"* | Austral Summer (24h sun) vs. Polar Night (zero sun) multi-horizon simulation comparisons. |

+-----------------------------------------------------------------------------------+

|                        DASHBOARD USER JOURNEY & WORKFLOW                          |

+-----------------------------------------------------------------------------------+

|                                                                                   |

|  [ HOME PAGE ]                                                                    |

|  "What is Polar Grid?" (15-sec elevator pitch: clean energy for Mawson Station)   |

|         |                                                                         |

|         +---------------------------------+                                       |

|         |                                 |                                       |

|         v                                 v                                       |

|  [ AI VALIDATION PAGE ]          [ LIVE DASHBOARD PAGE ]                          |

|  "Does the AI really work?"      "What should the station do right now?"          |

|  - Pick historical test day      - Live ECMWF weather                             |

|  - 24h AI vs Actual Demand       - Current Demand (165 kW)                        |

|  - 99.2% Prediction Match        - Renewables (Wind 140 kW + Solar 25 kW)         |

|  - Proves generalization         - Battery Charging (+15 kW)                      |

|                                  - Diesel Status: OFF (100% Clean)                |

|                                  - 24-Hour Forward Dispatch Schedule              |

+-----------------------------------------------------------------------------------+

## 4. Input

Asynchronous JSON REST responses from the FastAPI backend:

- /api/status

- /api/weather/live?horizon=24

- /api/schedule?horizon=24&season=live

- /api/validation/day?date=YYYY-MM-DD

## 5. Processing

Normalizes server timestamps to station local time (UTC+5 for Mawson).

Calculates real-time status pills (e.g. LIVE WEATHER — ECMWF IFS vs. CACHED).

Renders smooth responsive Recharts interactive SVG graphs with custom dark-mode tooltips.

## 6. Output

A state-of-the-art Antarctic operations console accessible on desktop, tablet, and mobile with zero layout shifting.

## 7. Simple Walkthrough of the Live Dashboard

1. Header: Shows station coordinates ($67.6027^\circ\text{S}, 62.8738^\circ\text{E}$), "System Ready", and weather source indicator.

2. Dispatch Recommendation Banner: Instantly tells the supervisor the state of the microgrid:

- Green: *"Demand Served (100% Clean Energy) — Diesel is OFF"*.

- Amber: *"Diesel Backup Required — Renewables and battery insufficient"*.

3. Current Hour Telemetry (t=0):

- Wind Speed: $10.8 \text{ m/s} \implies 146.5 \text{ kW}$

- Solar Irradiance: $208 \text{ W/m}^2 \implies 22.3 \text{ kW}$

- Station Demand: $168.8 \text{ kW}$

- Battery SoC: $50.0\% \implies$ Idle ($0.0 \text{ kW}$)

- Diesel: $0.0 \text{ kW}$ (OFF)

4. Interactive Schedule Table: Shows all 24 upcoming hours with exact kilowatt allocations and battery percentages.

## 8. What should I say to a judge?

*"Judges, let's look at the Live Operational Dashboard. Right now at Mawson Station, our live ECMWF weather feed shows wind speed is 10.8 m/s and temperature is -15.6°C. Our ML model predicts the station demand is 168 kW. Our physics models estimate our two wind turbines are generating 146 kW and our solar array is producing 22 kW. That's 168 kW of total clean power—meaning our HiGHS optimizer recommends keeping the diesel generators completely OFF and running on 100% renewable energy."*

## 9. Common Judge Questions

1. Q: Where should a judge look first?

*A: Look at the Dispatch Recommendation Banner at the top of the Live Dashboard. It gives the immediate verdict: whether the station can run 100% clean right now or if diesel backup is required.*

2. Q: What do the different colors on the forecast graph represent?

*A: Blue/Cyan represents station electricity demand; Green represents available renewable power (wind + solar); Purple represents battery state of charge; and Orange represents diesel generator output.*

3. Q: Can the operator adjust microgrid settings from the dashboard?

*A: Yes. Operators can change the forward planning horizon (24h, 48h, 72h) or switch between live weather and seasonal simulation benchmarks.*

4. Q: Is the dashboard mobile responsive?

*A: Yes. All cards, tables, and charts automatically re-stack cleanly on tablets and mobile screens.*

5. Q: What happens if an API call fails?

*A: The UI displays non-blocking status badges and falls back gracefully to cached data without crashing.*

## 10. Important Things NOT to Claim

DO NOT claim the dashboard connects to physical station hardware relays today (it provides decision-support schedules).

DO NOT claim the weather badge is live if the system is running in historical benchmark mode.

DO NOT claim the UI was copied from a template (it is custom-built with vanilla CSS and bespoke React components).